## HVAC
PROJECT: ENBD Electra Branch, Abu Dhabi
Location: Abu Dhabi, UAE
Item | Description | Qty | Unit | Unit Price | Total Price
13 | HVAC works
AIR CONDITIONING INDOOR UNITS
FCU Installation of ducted ceiling suspended FCUs including
13.4 | FCU-001 | 1 | Nos |  | 0
13.5 | FCU-002 | 1 | Nos |  | 0
13.6 | FCU-003 | 1 | Nos |  | 0
13.7 | FCU-003A | 1 | Nos |  | 0
13.8 | FCU-004 | 1 | Nos |  | 0
13.9 | FCU-005 | 1 | Nos |  | 0
INLINE EXTRACT FAN
Install, commissioning of inline extract fans for ventilation. including hangers, supports
13.10 | EAF-001 | 1 | Nos |  | 0
CHILLED WATER PIPING & INSULATION
Supply, installation, and commissioning of chilled water pipe work complete with fittings, insulation, Valve Package, clamps, supports, insulation etc. in accordance to drawings and specifications.
13.12 | Chilled water pipe work & piping insulation (32 mm insulation thickness). | 1 | Item | 0 | Included
DUCT WORK INSTALLATION
Supply, Install and commissioning of Supply, return, and fresh air galvanized steel ducts with Zinc coating grade of G90, with thermal insulation, installed connected and tested complete with joints, reinforcements, vanes, splitter dampers, access doors, elbows, reducers, supports as specified and shown on drawings.
13.13 | 24 gauge GI duct | 275 | Sqmtr |  | 0
Supply, Install and commissioning of fire rated rockwool insulation for kitchen extract ductwork, as specified on drawings and specifications.
13.14 | 50 mm thick insulation | 36 | Sqmtr |  | 0
| Pressure Independent VAV Installation of Pressure Independent VAVs |  |  |  | For FCUs Bypass Vav Considered
13.26 | VAV-1 | 1 | Nos |  | 0
13.27 | VAV-2 | 1 | Nos |  | 0
13.28 | VAV-3 | 1 | Nos |  | 0
13.29 | VAV-4 | 1 | Nos |  | 0
13.30 | VAV-5 | 1 | Nos |  | 0
13.31 | VAV-6 | 1 | Nos |  | 0
13.32 | NRD-7-(ATM/ITM room AC) | 2 | Nos |  | 0
DAMPERS
13.33 | MSFD Size, 450 x 350 mm | 2 | Nos |  | 0
13.34 | Motorised Demand Control Damper Size, 600 x 450 mm | 1 | Nos |  | 0
13.35 | VCD Size 200 x 150 mm | 11 | Nos |  | 0
13.36 | VCD Size 250 x 150 mm | 7 | Nos |  | 0
13.37 | VCD Size 250 x 200 mm | 3 | Nos |  | 0
13.38 | MSFD Size 250 x 150 mm | 2 | Nos |  | 0
13.39 | VCD Size 300 x 150 mm | 25 | Nos |  | 0
13.40 | VCD Size 300 x 200 mm | 1 | Nos |  | 0
13.41 | VCD Size 400 x 200 mm | 4 | Nos |  | 0
13.42 | VCD Size 150 x 150 mm | 1 | Nos |  | 0
13.43 | ROUND VCD 150 DIA MM | 25 | NOS |  | 0
13.44 | Bellmouth with Wiremesh (Main Return air duct) | 4 | Nos |  | 0
Fire Dampers
13.45 | FD Size 200 x 150 mm | 1 | Nos |  | 0
13.46 | FD Size 300 x 200 mm | 2 | Nos |  | 0
13.47 | FD Size 200 x 150 mm | 4 | Nos |  | 0
13.48 | FD Size 150 x 100 mm | 1 | Nos |  | 0
Flexible Duct
13.49 | Flexible duct 150 mm dia | 22 | Nos |  | 0
DIFFUSERS & GRILLES
Supply Square Diffuser
#REF! | Diffuser 150x150 | 2 | Nos |  | 0
#REF! | Diffuser 300x300 | 3 | Nos |  | 0
#REF! | Diffuser 225x225 | 2 | Nos |  | 0
Return Square Diffuser
#REF! | Diffuser 150x150 | 2 | Nos |  | 0
#REF! | Diffuser 300x300 | 3 | Nos |  | 0
#REF! | Diffuser 225x225 | 2 | Nos |  | 0
Supply Bar Grill
#REF! | SLG 300x100 Side Throw | 2 | Nos |  | 0
#REF! | SLG 600x100 Side Throw | 7 | Nos |  | 0
Supply Slot Diffuser
#REF! | SLD Size 1000 x 50, 2 slot, | 15 | Nos |  | 0
#REF! | SLD Size 1500 x 50, 2 slot, | 4 | Nos |  | 0
REturn Bar Grill
#REF! | RLG 300x100 Side Throw | 2 | Nos |  | 0
#REF! | RLG 600x100 Side Throw | 7 | Nos |  | 0
Return Slot Diffuser
#REF! | RLD Size 1000 x 50, 2 slot, | 15 | Nos |  | 0
#REF! | RLD Size 1500 x 50, 2 slot, | 4 | Nos |  | 0
Extract Diffuser
#REF! | Diffuser 300x300 | 1 | Item |  | 0
Exhaust Louvers
#REF! | Louver 300x150 | 1 | Nos |  | 0
#REF! | Louver 400x150 | 1 | Nos |  | 0
#REF! | Louver 400x250 | 1 | Nos |  | 0
Sand Trap Louver
13.74 | Louver 1000x600 |  |  |  | Excluded
13.76 | Thermostat | 12 | Nos |  | 0
13.78 | Testing & commissioning of chilled water pressure testing. | 1 | Item |  | 0
13.79 | ULTRASONIC BTU METER (Supply By Others, considered installation only) | 1 | Nos |  | 0
13.80 | Supply and installation of Air Curtains complete with all accessories | 2 | Nos. |  | 0
13.81 | Testing and Commissioning (Air Balancing & Chilled water Balancing) | 1 | Item |  | 0
Chilled Water Pipes & Fittings. Supply and Installation of Seamless SCH 40 chilled water pipe work complete with fittings, insulation, Valve packages (Including 2 Way Motorized Valve, strainer, isolation valve, strainer DRV, drain cock & AAV), clamps, supports etc. in accordance to drawings and specifications.
| 20mm dia. | 11 | M |  | 0
| 25mm dia. | 3 | M |  | 0
| 32mm dia | 8 | M |  | 0
| 40mm dia. | 12 | M |  | 0
| Chilled water line shall be XLPE rubber insulation & foster coating | 1 | Item |  | 0
| Connections of HVAC services of proposed rooms to the existing building infrastructure | 1 | Item |  | 0
0.01 | Chilled Water Flushing Allow for chilled water flushing and submit specialist report prior to connection to the landlord network in accordance to drawings, specifications and local authorities. | 1 | Item |  | 0
4 | Supply & Installation of motorized dampers
a | 350x200 | 1 | Nos |  | 0
b | 300x150 | 1 | Nos |  | 0
c | 250x150 | 6 | Nos |  | 0
d | 250x100 | 3 | Nos |  | 0
5 | Supply & Installation of 25mm rigid foam insulated drain tray below condensate drain pipe | 1 | item |  | 0

## ELEctrical
PROJECT: ENBD Electra Branch, Abu Dhabi
Location: Abu Dhabi, UAE
16 | ELECTRICAL WORKS
General Notes:
(1) All items are inclusive of supply, installation, storage and delivery, testing and commissioning
(2) Contractor to coordinate with Building Management (Landlord) for exact location of tapping, any modification required is under Contractor's responsibility.
ELECTRICAL SYSTEM
Supply, installation, testing and commissioning for all types of electrical work with all necessary equipment and accessories, etc., complete as per below details and all in accordance to drawings and specifications, and to the approval of the SEC/Telecom and all other Applicable local Authorities. Includes distribution board, conduit and cabling, power points, electrical sockets, telephone outlets and data outlets, etc.
POWER
16.1 | Distribution Board (DB) : DB REF: DB-EN,DB-UPS | 2 | Nos | 0
16.2 | Sub Main Distribution Boards (SMDB) SMDB REF: SMDB-ENBD | 1 | Nos | 0
CABLE
Cable and Terminations Supply, install, connect, test and commission required power cables full neutral power copper cable with stranded copper conductors with all required accessories for perfect connection; including PVC ducts and any required accessories and ancillary works required, complete all in accordance to drawings, specifications & authority
Supply and installation of Cable
16.6 | 4C, 35 mm2 XLPE/SWA/PVC | 8 | M
16.7 | 4C, 16 mm2 XLPE/SWA/PVC | 8 | M | 0
16.8 | 4C, 16 mm2 FIRE RATED CABLE | 16 | M
CONDUITS, CHANNELS, WIRING AND ACCESSORIES
16.11 | Containment Supply and installation of cable tray and trucking as per approved materials and specifications, including fittings, bends, covers, earthing, supports, etc. complete all in accordance to drawings and specifications | 1 | LS | 0
SMALL POWER ACCESSORIES
| Socket Outlet Supply and installation of approved socket outlet including installation and connection of the outlet and coverplate, with conduiting and accessories, wiring, backbox, junction box, etc., complete all in accordance to drawing and specifications |  |  | Considered GI Conduit
16.12 | 13A Single Socket Outlet | 26 | Nos | 0
16.13 | 13A Twin Socket Outlet | 38 | Nos | 0
16.14 | 13A Single UPS Socket Outlet | 21 | Nos | 0
16.15 | 13A Twin UPS Socket Outlet | 11 | Nos | 0
16.16 | SPN Isolators | 1 | Nos | 0
16.17 | TPN Isolators | 4 | Nos | 0
16.18 | 13A Switched SPUR outlet for AC unit with neon indicator | 13 | Nos | 0
16.19 | 40A TPN Isolator | 2 | Nos | 0
16.21 | PDU-CCTV and server racks | 4 | Nos | By Others
16.22 | PMU | 4 | Nos | By Others
17 | LIGHTING WORKS (CONTROL PHILOSOPHY LIKE DIMMING ETC AS PER SPECIALIST REQUIREMENTS) EXCLUDING LIGHTS AND DIMMING ACCESSORIES. INFORMATION WILL PROVIDE BY LIGHTING SPECIALIST
SWITCHES
Supply and installation of approved switch outlets, including installation and connection of the switch and coverplate, boxes, fixings and accessories, etc., complete all in accordance to drawing and specifications
17.1 | 1 Gang 1 way - 27nos | 27 | Nos | 0
17.5 | 20 A DP Switch | 2 | Nos | 0
17.6 | Grid Switch Dimmer Rotary Switch - 10nos (Supply By Light Supplier) | 10 | Nos | 0
17.8 | Day Light Sensor (By Light Supplier) 13Nos | 13 | Nos | 0
17.9 | Override switch. (By Light Supplier) 1nos | 1 | Nos | 0
17.11 | Light Point Wiring Supply and installation of lighting point with conduiting, accessories, wiring, backbox, junction box, including testing and commission, complete all in accordance to drawings and specifications | 182.2 | Nos | 0
LIGHT FITTINGS (Considered Installation Only)
Supply of light fittings, including commissioning, and test, etc. as per the manufacturers specifications, complete all in accordance to drawings and specifications (Supply By Others)
17.12 | LT-2A LEDONA ROUND RECESSED DOWN LIGHT IP20 12W CODE: 901791.002.1 140 Dia, 12 W Color: white | 32 | Nos | 0
17.13 | LT-2A.2 BEAMLINE SLIM LED LINEAR SYSTEMS IP20 36W CODE 641331.0025.2.76 435mm, 36 W Color: Traffic white, matt (RAL 9016) | 10 | Nos | 0
17.14 | LT-2A.D LEDONA ROUND RECESSED DOWN LIGHT IP20 12W CODE 901791.002.1.76 12 W Color: white | 20 | Nos | 0
17.15 | LT-2B LEDONA ROUND RECESSED DOWN LIGHT IP20 19W CODE 901791.002.1 19 W Color: white | 4 | Nos | 0
17.16 | LT-2B.D LEDONA ROUND RECESSED DOWN LIGHT IP20 16W CODE 901791.002.1.76 16 W Color: white | 3 | Nos | 0
17.17 | LT-4 A LEVIDO ROUND RECESSED DOWN LIGHT IP44 7.5W CODE 901832.002.1 7.5 W COLOR TRAFFIC WHITE RAL 9016 MATT FINISH | 8 | Nos | 0
17.18 | LT-5.1 LESS IS MORE 50 LED LINEAR SYSTEM IP20 22W CODE 312305.003.1.76 847mm, 22 W, 4000K COLOR: Jet black (RAL 9005) | 6 | Nos | 0
17.19 | LT-5.2 LESS IS MORE 50 LED LINEAR SYSTEM IP20 26W CODE 312306.003.1.76 1127mm, 26 W, 4000K COLOR: Jet black (RAL 9005) | 2 | Nos | 0
17.20 | LT-5.3 LESS IS MORE 50 LED LINEAR SYSTEM IP20 34W CODE 312307.003.1.76 1407mm, 34 W, 4000K COLOR: Jet black (RAL 9005) | 8 | Nos | 0
17.21 | LT-5.4 LESS IS MORE 50 LED LINEAR SYSTEM IP20 47W CODE 312309.003.1.76 1967mm, 47 W, 4000K COLOR: Jet black (RAL 9005) | 22 | Nos | 0
17.22 | LT-08 LESS IS MORE FLEX COVE LED STRIP LIGHT 9.6W/m CODE 982741.000.1 9.6W/M WITH DIFFUSER | 11 | Reels | 0
17.23 | Feed 982545.002 | 11 | Nos | 0
17.24 | Mid Feed 982550.002 | 14 | Nos | 0
17.25 | Profile + diffuser + endcap | 55 | LM | 0
17.26 | Driver - 60W on/off | 11 | Nos | 0
17.27 | LT-13 LESS IS MORE 50 LED LINEAR SYSTEM 11W CODE 312236.002.1 608mm, 11 W Color: white | 8 | Nos | 0
17.28 | Rotary Dimmer CODE 982384.002 Flush-type box Color: white | 10 | Nos | 0
13.55 | Indoor Air Quality Sensors (Considered containment & cabling only) | 7 | Nos | 0
18 | EMERGENCY AND EXIT LIGHTS
Engineer, supply and installation of proposed self contained monitoring Emergency Lighting System including containment wiring and control wiring, etc., complete all in accordance to drawings and specifications and in compliance with Civil Defense Requirements and landlord and FM requirement.
18.1 | EMERGENCY MONITORING PANEL | 1 | Nos | 0
18.2 | E1 -2W LED RECESSED TYPE EMERGENCY LIGHT WITH 3Hrs. BATTERY PACK, IP-20 | 11 | Nos | 0
18.3 | E2- 5W LED RECESSED TYPE EMERGENCY LIGHT WITH 3Hrs. BATTERY PACK, IP-20. | 22 | Nos | 0
18.4 | EXIT LIGHTS WITH 3HRS. BATTERY PACK, IP-20. | 4 | Nos | 0
18.5 | EXIT LIGHTS DIRECTIONAL | 5 | Nos | 0
19 | FIRE ALARM SYSTEM
Supply and installation of fire detection and alarm system with all necessary equipment and accessories as per below details, complete all in accordance to drawings and specification and in compliance with building requirements and local authorities rules and regulations Includes wiring and terminating the zone control valves and flow switched to the proposed alarm system and compliance and interfacing with Building's Fire Alarm System as well as BMS System,
Fire Alarm Devices Supply and installation of the following fire alarm devices including wiring and all necessary fittings and accessories, etc., complete all in accordance to drawings and specifications
19.1 | Fire Alarm Panel | 1 | LS | 0
19.2 | Intelligent optical Smoke Detectors with standard base | 30 | Nos | 0
19.3 | Intelligent Heat Detector with standard base | 3 | Nos | 0
19.4 | Multisensor Smoke Detectors with standard base | 1 | Nos | 0
19.5 | Intelligent optical Smoke Detectors with standard base, above false ceiling with LED indicator light | 26 | Nos | 0
19.6 | Fire alarm wall sounder with flasher | 2 | Nos | 0
19.7 | Ceiling mounted voice evacuation speaker | 6 | Nos | 0
19.8 | Ceiling mounted voice evacuation speaker with strobe | 13 | Nos | 0
19.9 | Fire Alarm Manual call button | 2 | Nos | 0
19.10 | Interface Units (IFU) | 10 | Nos | 0
19.11 | Hassantuk 24X7 Panel | 1 | Nos | Excluded
19.12 | FAS system isolation by building nominated contractor. | 1 | Nos | 0
20 | IT, VOICE AND DATA SYSTEM (System shall be considered as per IT Specialist / Client IT Requirements, Other ELV items by Specialist) | 1 | LS
20.1 | Containment for Data Outlets Supply and installation of containment from main telephone room to server room, data outlets including approved cable tray/ trunking and conduits complete all in accordance to drawings and specifications local authorities.
20.2 | Single Voice/Data Outlet | 104 | Nos | 0
20.5 | WiFi | 8 | LS | 0

## Plumbing
PROJECT: ENBD Electra Branch, Abu Dhabi
#REF! | PLUMBING WORKS
Install plumbing system including all piping works with all necessary equipment and accessories, etc. complete all in accordance to Landlord requirements, drawings and specifications
Water Supply System
Cold water PPR Pipes
#REF! | 20 mm dia | 10 | M | 0
#REF! | 25mm dia | 12 | M | 0
#REF! | 32 mm dia | 2 | M | 0
PEX Pipe
15.4 | 15 mm dia Pex pipe | 12 | M | 0
HWS (Hot Water Supply) Pipes
15.5 | 15 mm (PEX) | 5 | M | 0
15.6 | Angle Valves | 8 | Nos | 0
Isolating Valve
15.7 | 20mm dia | 0 | Nos
15.8 | 25mm dia | 3 | Nos | 0
15.9 | 32mm dia | 0 | Nos
15.1 | Pressure Reducing Valve (PRV) | 1 | Nos | 0
15.11 | WATER METER (Supply By Others) Supply and installation of Pressure Water meter with all fittings and accessories, etc., complete all in accordance to drawings and specifications; | 1 | Nos | 0
Electric Water Heaters
15.12 | Electric water heater 50 L | 1 | No | 0
15.13 | Dismantling/Modification of existing services | 1 | item | 0
15.14 | Testing and Commissioning (Power, Fuel & Water by others) Pressure Test | 1 | item | 0
Drainage System
Condensate Drainage Network: Supply and installation of CLASS E Condensate drain pipe with insulation (for all FCUs connected to as per drawing) with all fittings and accessories, etc., complete all in accordance to drawings and specifications
15.20 | 25mm dia. | 25 | M | 0
Supplyandinstall upper Groundu PVC Pipe Including all FittingsandAccessories,Completeinaccordancewith specification and Drawings
15.21 | 25mm dia. | 25 | M | 0
15.22 | 32mm dia. | 24 | M | 0
15.23 | 40mm dia. | 8 | M | 0
15.24 | 110mm dia | 8 | m | 0
15.25 | Infrastructure connection Connections of Drainage services of proposed office to the existing building infrastructure | 1 | LS | Included
15.26 | Waste & Vent System Supply and Install uPVC pipes installed jointed and tested complete, to BS 4514 for pipe size up to 80 mm dia and, BS 5255 for pipe size 50 mm dia. and less and as applicable including galvanized supports and hangers using galvanized clamps with rubber inlay, galvanized threaded rods, fittings, accessories, fire stop jackets, all as specified and shown on drawings.
15.27 | Soil And Waste Pipe
15.28 | 40 mm diameter pipe | 5 | M | 0
15.29 | 50 mm diameter pipe | 12 | M | 0
15.30 | 82 mm diameter pipe | 5 | M | 0
15.31 | 110 mm diameter pipe | 6 | M | 0
15.32 | Vent Pipe
15.33 | 50 mm dia | 0 | M
15.34 | 65 mm dia | 0 | M
15.35 | Type FD-1 75 mm outlet diameter | 2 | No | 0
15.38 | Testing and Commissioning (Power, Fuel & Water by others) Gravity Test | 1 | item | 0
Sanitary Fittings & Accessories Supply and Fix the following sanitary fittings and accessories complete with all necessary accessories, fittings, waste traps as specified including connection to all services and drains as per the drawings and specifications.
15.40 | SW-1.0, 1.1A & 2.0- SS Sink and Mixer including bottle trap, waste plug & overflow and angle valves for fixing Location: Wet Pantry | 1 | Sets | 0
15.41 | SW-3.0- Water closet including cistern, flush plates, bidet spray complete with angle valves for fixing Location: Male and Female Toilet | 2 | Sets | 0
15.42 | SW-4.0- Wall hung Basin and Sensor Mixer complete with waste plug with overflow and angle valves for fixing Location: Male and Female Toilet | 2 | Sets | 0
15.45 | SW-7.0- Wall Mounted Soap Dispenser Location: Toilets | 2 | Nos | 0
15.46 | SW-8.0- Hand Dryer Location: Toilets | 2 | Nos | 0
15.47 | SW-9.0- Robe Hook Location: Toilets | 2 | Nos | 0
15.48 | SW-10.0- Toilet Roll Holder Location: Toilets | 2 | Nos | 0
15.49 | SW-11.0 - Pedal Basin Location: Toilets | 2 | Nos | 0
15.50 | SW-12.0 - Casting Floor Drain Location: Toilets | 4 | Nos | 0

## Plumbing (2)
PROJECT: ENBD Electra Branch, Abu Dhabi
Location: Abu Dhabi, UAE
Item | Description | Qty | Unit | Unit Price | Total Price
13 | HVAC works
AIR CONDITIONING INDOOR UNITS
FCU Installation of ducted ceiling suspended FCUs including
13.4 | FCU-001 | 1 | Nos |  | 0
13.5 | FCU-002 | 1 | Nos |  | 0
13.6 | FCU-003 | 1 | Nos |  | 0
13.7 | FCU-003A | 1 | Nos |  | 0
13.8 | FCU-004 | 1 | Nos |  | 0
13.9 | FCU-005 | 1 | Nos |  | 0
INLINE EXTRACT FAN
Install, commissioning of inline extract fans for ventilation. including hangers, supports
13.10 | EAF-001 | 1 | Nos |  | 0
CHILLED WATER PIPING & INSULATION
Supply, installation, and commissioning of chilled water pipe work complete with fittings, insulation, Valve Package, clamps, supports, insulation etc. in accordance to drawings and specifications.
13.12 | Chilled water pipe work & piping insulation (32 mm insulation thickness). | 1 | Item | 0 | Included
DUCT WORK INSTALLATION
Supply, Install and commissioning of Supply, return, and fresh air galvanized steel ducts with Zinc coating grade of G90, with thermal insulation, installed connected and tested complete with joints, reinforcements, vanes, splitter dampers, access doors, elbows, reducers, supports as specified and shown on drawings.
13.13 | 24 gauge GI duct | 275 | Sqmtr |  | 0
Supply, Install and commissioning of fire rated rockwool insulation for kitchen extract ductwork, as specified on drawings and specifications.
13.14 | 50 mm thick insulation | 36 | Sqmtr |  | 0
| Pressure Independent VAV Installation of Pressure Independent VAVs |  |  |  | For FCUs Bypass Vav Considered
13.26 | VAV-1 | 1 | Nos |  | 0
13.27 | VAV-2 | 1 | Nos |  | 0
13.28 | VAV-3 | 1 | Nos |  | 0
13.29 | VAV-4 | 1 | Nos |  | 0
13.30 | VAV-5 | 1 | Nos |  | 0
13.31 | VAV-6 | 1 | Nos |  | 0
13.32 | NRD-7-(ATM/ITM room AC) | 2 | Nos |  | 0
DAMPERS
13.33 | MSFD Size, 450 x 350 mm | 2 | Nos |  | 0
13.34 | Motorised Demand Control Damper Size, 600 x 450 mm | 1 | Nos |  | 0
13.35 | VCD Size 200 x 150 mm | 11 | Nos |  | 0
13.36 | VCD Size 250 x 150 mm | 7 | Nos |  | 0
13.37 | VCD Size 250 x 200 mm | 3 | Nos |  | 0
13.38 | MSFD Size 250 x 150 mm | 2 | Nos |  | 0
13.39 | VCD Size 300 x 150 mm | 25 | Nos |  | 0
13.40 | VCD Size 300 x 200 mm | 1 | Nos |  | 0
13.41 | VCD Size 400 x 200 mm | 4 | Nos |  | 0
13.42 | VCD Size 150 x 150 mm | 1 | Nos |  | 0
13.43 | ROUND VCD 150 DIA MM | 25 | NOS |  | 0
13.44 | Bellmouth with Wiremesh (Main Return air duct) | 4 | Nos |  | 0
Fire Dampers
13.45 | FD Size 200 x 150 mm | 1 | Nos |  | 0
13.46 | FD Size 300 x 200 mm | 2 | Nos |  | 0
13.47 | FD Size 200 x 150 mm | 4 | Nos |  | 0
13.48 | FD Size 150 x 100 mm | 1 | Nos |  | 0
Flexible Duct
13.49 | Flexible duct 150 mm dia | 22 | Nos |  | 0
DIFFUSERS & GRILLES
Supply Square Diffuser
13.56 | Diffuser 150x150 | 2 | Nos |  | 0
13.57 | Diffuser 300x300 | 3 | Nos |  | 0
13.58 | Diffuser 225x225 | 2 | Nos |  | 0
Return Square Diffuser
13.59 | Diffuser 150x150 | 2 | Nos |  | 0
13.6 | Diffuser 300x300 | 3 | Nos |  | 0
13.61 | Diffuser 225x225 | 2 | Nos |  | 0
Supply Bar Grill
13.62 | SLG 300x100 Side Throw | 2 | Nos |  | 0
13.63 | SLG 600x100 Side Throw | 7 | Nos |  | 0
Supply Slot Diffuser
13.64 | SLD Size 1000 x 50, 2 slot, | 15 | Nos |  | 0
13.65 | SLD Size 1500 x 50, 2 slot, | 4 | Nos |  | 0
REturn Bar Grill
13.66 | RLG 300x100 Side Throw | 2 | Nos |  | 0
13.67 | RLG 600x100 Side Throw | 7 | Nos |  | 0
Return Slot Diffuser
13.68 | RLD Size 1000 x 50, 2 slot, | 15 | Nos |  | 0
13.69 | RLD Size 1500 x 50, 2 slot, | 4 | Nos |  | 0
Extract Diffuser
13.7 | Diffuser 300x300 | 1 | Item |  | 0
Exhaust Louvers
13.71 | Louver 300x150 | 1 | Nos |  | 0
13.72 | Louver 400x150 | 1 | Nos |  | 0
13.73 | Louver 400x250 | 1 | Nos |  | 0
Sand Trap Louver
13.74 | Louver 1000x600 |  |  |  | Excluded
13.76 | Thermostat | 12 | Nos |  | 0
13.78 | Testing & commissioning of chilled water pressure testing. | 1 | Item |  | 0
13.79 | ULTRASONIC BTU METER (Supply By Others, considered installation only) | 1 | Nos |  | 0
13.80 | Supply and installation of Air Curtains complete with all accessories | 2 | Nos. |  | 0
13.81 | Testing and Commissioning (Air Balancing & Chilled water Balancing) | 1 | Item |  | 0
Chilled Water Pipes & Fittings. Supply and Installation of Seamless SCH 40 chilled water pipe work complete with fittings, insulation, Valve packages (Including 2 Way Motorized Valve, strainer, isolation valve, strainer DRV, drain cock & AAV), clamps, supports etc. in accordance to drawings and specifications.
| 20mm dia. | 11 | M |  | 0
| 25mm dia. | 3 | M |  | 0
| 32mm dia | 8 | M |  | 0
| 40mm dia. | 12 | M |  | 0
| Chilled water line shall be XLPE rubber insulation & foster coating | 1 | Item |  | 0
| Connections of HVAC services of proposed rooms to the existing building infrastructure | 1 | Item |  | 0
0.01 | Chilled Water Flushing Allow for chilled water flushing and submit specialist report prior to connection to the landlord network in accordance to drawings, specifications and local authorities. | 1 | Item |  | 0
4 | Supply & Installation of motorized dampers
a | 350x200 | 1 | Nos |  | 0
b | 300x150 | 1 | Nos |  | 0
c | 250x150 | 6 | Nos |  | 0
d | 250x100 | 3 | Nos |  | 0
5 | Supply & Installation of 25mm rigid foam insulated drain tray below condensate drain pipe | 1 | item |  | 0
14 | FIRE FIGHTING SYSTEM
Supply, installation and testing, and commissioning of fire fighting system with all necessary Valves, equipment, fitting, supports, hangers, etc., and applicable local rules and Civil defense regulations, necessary certificates for below-mentioned items
Sprinkler Pipes
Fire fighting galvanized steel pipe and fittings including all valves and etc., laying or fixing horizontally or vertically with brackets, clip hangers and supports plugged and screwed to concrete or block work. Including tie in connection to the main riser and/or existing incoming pipe complete all in accordance with approved drawings and specifications
14.1 | 25mm dia. | 82 | M |  | 0
14.2 | 32mm dia. | 9 | M |  | 0
14.3 | 40mm dia. | 12 | M |  | 0
14.4 | 50mm dia. | 12 | M |  | 0
14.5 | 65mm dia. | 15 | M |  | 0
14.6 | 80mm dia. | 6 | M |  | 0
14.7 | Recessed Pendent Type Sprinkler: Supply and installation of new concealed sprinklers with all accessories and fittings complete all in accordance with approved drawings and specifications, and Civil Defense Requirements. | 35 | Nos |  | 0
14.8 | Upright Sprinkler: Supply and installation of new void sprinklers where ever ceiling height is above 800 mm with all accessories and fittings complete all in accordance with approved drawings and specifications, and Civil Defense Requirements. | 35 | Nos |  | 0
14.9 | CO2 Fire Extinguisher (5kg): Supply and installation of CO2 fire extinguisher, complete all in accordance to local regulations, drawings and specifications | 3 | Nos |  | 0
14.10 | 5Kg ABC Fire Extinguisher: Supply and installation 5Kg. Dry Powder Fire extinguisher. | 3 | Nos |  | 0
14.11 | Shutdown / Isolation of Fire fighting pipes and co-ordination with Land lord/FM team and follow their required. | 1 | LS |  | 0
14.12 | FIRE EXINGUISHER For ELECTRICAL ROOM/ OTHER AREAS: Supply and installation of FIRE EXINGUISHERS, DRY POWDER 5 KG, CO2 5 KG , SELF EXTINGUISHING CYLINDER 6 TO 10 KG with all accessories and fittings complete all in accordance with approved drawings and specifications, and Civil Defense Requirements. | 1 | Nos |  | 0
14.13 | Allow for any other items not included above but shown in the drawings or specified elsewhere for the completion of fire fighting system. | 1 | item |  | N/A
14.14 | Testing and Commissioning (Power, Fuel & Water by others) | 1 | item |  | 0
14.15 | Connections of firefighting services of proposed office to the existing building infrastructure | 1 | item |  | 0
14.16 | Zone Control Valve assembly with Automatic check and integration with FAS system, Drain valve, Flush valve, flow switch valve openings as per civil defence regulation. | 1 | item |  | 0
14.17 | 100 mm dia Isolation Valve for Tie in with existing main fire pipe. | 1 | Nos |  | 0
14.18 | FM 200 system for CCTV room including control panel with complete accesseries | 1 | No |  | 0
15 | PLUMBING WORKS
Install plumbing system including all piping works with all necessary equipment and accessories, etc. complete all in accordance to Landlord requirements, drawings and specifications
Water Supply System
Cold water PPR Pipes
15.1 | 20 mm dia | 10 | M |  | 0
15.2 | 25mm dia | 12 | M |  | 0
15.3 | 32 mm dia | 2 | M |  | 0
PEX Pipe
15.4 | 15 mm dia Pex pipe | 12 | M |  | 0
HWS (Hot Water Supply) Pipes
15.5 | 15 mm (PEX) | 5 | M |  | 0
15.6 | Angle Valves | 8 | Nos |  | 0
Isolating Valve
15.7 | 20mm dia | 0 | Nos
15.8 | 25mm dia | 3 | Nos |  | 0
15.9 | 32mm dia | 0 | Nos
15.1 | Pressure Reducing Valve (PRV) | 1 | Nos |  | 0
15.11 | WATER METER (Supply By Others) Supply and installation of Pressure Water meter with all fittings and accessories, etc., complete all in accordance to drawings and specifications; | 1 | Nos |  | 0
Electric Water Heaters
15.12 | Electric water heater 50 L | 1 | No |  | 0
15.13 | Dismantling/Modification of existing services | 1 | item |  | 0
15.14 | Testing and Commissioning (Power, Fuel & Water by others) Pressure Test | 1 | item |  | 0
Drainage System
Condensate Drainage Network: Supply and installation of CLASS E Condensate drain pipe with insulation (for all FCUs connected to as per drawing) with all fittings and accessories, etc., complete all in accordance to drawings and specifications
15.20 | 25mm dia. | 25 | M |  | 0
Supplyandinstall upper Groundu PVC Pipe Including all FittingsandAccessories,Completeinaccordancewith specification and Drawings
15.21 | 25mm dia. | 25 | M |  | 0
15.22 | 32mm dia. | 24 | M |  | 0
15.23 | 40mm dia. | 8 | M |  | 0
15.24 | 110mm dia | 8 | m |  | 0
15.25 | Infrastructure connection Connections of Drainage services of proposed office to the existing building infrastructure | 1 | LS |  | Included
15.26 | Waste & Vent System Supply and Install uPVC pipes installed jointed and tested complete, to BS 4514 for pipe size up to 80 mm dia and, BS 5255 for pipe size 50 mm dia. and less and as applicable including galvanized supports and hangers using galvanized clamps with rubber inlay, galvanized threaded rods, fittings, accessories, fire stop jackets, all as specified and shown on drawings.
15.27 | Soil And Waste Pipe
15.28 | 40 mm diameter pipe | 5 | M |  | 0
15.29 | 50 mm diameter pipe | 12 | M |  | 0
15.30 | 82 mm diameter pipe | 5 | M |  | 0
15.31 | 110 mm diameter pipe | 6 | M |  | 0
15.32 | Vent Pipe
15.33 | 50 mm dia | 0 | M
15.34 | 65 mm dia | 0 | M
15.35 | Type FD-1 75 mm outlet diameter | 2 | No |  | 0
15.38 | Testing and Commissioning (Power, Fuel & Water by others) Gravity Test | 1 | item |  | 0
Sanitary Fittings & Accessories Supply and Fix the following sanitary fittings and accessories complete with all necessary accessories, fittings, waste traps as specified including connection to all services and drains as per the drawings and specifications.
15.40 | SW-1.0, 1.1A & 2.0- SS Sink and Mixer including bottle trap, waste plug & overflow and angle valves for fixing Location: Wet Pantry | 1 | Sets |  | 0
15.41 | SW-3.0- Water closet including cistern, flush plates, bidet spray complete with angle valves for fixing Location: Male and Female Toilet | 2 | Sets |  | 0
15.42 | SW-4.0- Wall hung Basin and Sensor Mixer complete with waste plug with overflow and angle valves for fixing Location: Male and Female Toilet | 2 | Sets |  | 0
15.45 | SW-7.0- Wall Mounted Soap Dispenser Location: Toilets | 2 | Nos |  | 0
15.46 | SW-8.0- Hand Dryer Location: Toilets | 2 | Nos |  | 0
15.47 | SW-9.0- Robe Hook Location: Toilets | 2 | Nos |  | 0
15.48 | SW-10.0- Toilet Roll Holder Location: Toilets | 2 | Nos |  | 0
15.49 | SW-11.0 - Pedal Basin Location: Toilets | 2 | Nos |  | 0
15.50 | SW-12.0 - Casting Floor Drain Location: Toilets | 4 | Nos |  | 0
16 | ELECTRICAL WORKS
General Notes:
(1) All items are inclusive of supply, installation, storage and delivery, testing and commissioning
(2) Contractor to coordinate with Building Management (Landlord) for exact location of tapping, any modification required is under Contractor's responsibility.
ELECTRICAL SYSTEM
Supply, installation, testing and commissioning for all types of electrical work with all necessary equipment and accessories, etc., complete as per below details and all in accordance to drawings and specifications, and to the approval of the SEC/Telecom and all other Applicable local Authorities. Includes distribution board, conduit and cabling, power points, electrical sockets, telephone outlets and data outlets, etc.
POWER
16.1 | Distribution Board (DB) : DB REF: DB-EN,DB-UPS | 2 | Nos |  | 0
16.2 | Sub Main Distribution Boards (SMDB) SMDB REF: SMDB-ENBD | 1 | Nos |  | 0
CABLE
Cable and Terminations Supply, install, connect, test and commission required power cables full neutral power copper cable with stranded copper conductors with all required accessories for perfect connection; including PVC ducts and any required accessories and ancillary works required, complete all in accordance to drawings, specifications & authority
Supply and installation of Cable
16.6 | 4C, 35 mm2 XLPE/SWA/PVC | 8 | M
16.7 | 4C, 16 mm2 XLPE/SWA/PVC | 8 | M |  | 0
16.8 | 4C, 16 mm2 FIRE RATED CABLE | 16 | M
CONDUITS, CHANNELS, WIRING AND ACCESSORIES
16.11 | Containment Supply and installation of cable tray and trucking as per approved materials and specifications, including fittings, bends, covers, earthing, supports, etc. complete all in accordance to drawings and specifications | 1 | LS |  | 0
SMALL POWER ACCESSORIES
| Socket Outlet Supply and installation of approved socket outlet including installation and connection of the outlet and coverplate, with conduiting and accessories, wiring, backbox, junction box, etc., complete all in accordance to drawing and specifications |  |  |  | Considered GI Conduit
16.12 | 13A Single Socket Outlet | 26 | Nos |  | 0
16.13 | 13A Twin Socket Outlet | 38 | Nos |  | 0
16.14 | 13A Single UPS Socket Outlet | 21 | Nos |  | 0
16.15 | 13A Twin UPS Socket Outlet | 11 | Nos |  | 0
16.16 | SPN Isolators | 1 | Nos |  | 0
16.17 | TPN Isolators | 4 | Nos |  | 0
16.18 | 13A Switched SPUR outlet for AC unit with neon indicator | 13 | Nos |  | 0
16.19 | 40A TPN Isolator | 2 | Nos |  | 0
16.21 | PDU-CCTV and server racks | 4 | Nos |  | By Others
16.22 | PMU | 4 | Nos |  | By Others
17 | LIGHTING WORKS (CONTROL PHILOSOPHY LIKE DIMMING ETC AS PER SPECIALIST REQUIREMENTS) EXCLUDING LIGHTS AND DIMMING ACCESSORIES. INFORMATION WILL PROVIDE BY LIGHTING SPECIALIST
SWITCHES
Supply and installation of approved switch outlets, including installation and connection of the switch and coverplate, boxes, fixings and accessories, etc., complete all in accordance to drawing and specifications
17.1 | 1 Gang 1 way - 27nos | 27 | Nos |  | 0
17.5 | 20 A DP Switch | 2 | Nos |  | 0
17.6 | Grid Switch Dimmer Rotary Switch - 10nos (Supply By Light Supplier) | 10 | Nos |  | 0
17.8 | Day Light Sensor (By Light Supplier) 13Nos | 13 | Nos |  | 0
17.9 | Override switch. (By Light Supplier) 1nos | 1 | Nos |  | 0
17.11 | Light Point Wiring Supply and installation of lighting point with conduiting, accessories, wiring, backbox, junction box, including testing and commission, complete all in accordance to drawings and specifications | 182.2 | Nos |  | 0
LIGHT FITTINGS (Considered Installation Only)
Supply of light fittings, including commissioning, and test, etc. as per the manufacturers specifications, complete all in accordance to drawings and specifications (Supply By Others)
17.12 | LT-2A LEDONA ROUND RECESSED DOWN LIGHT IP20 12W CODE: 901791.002.1 140 Dia, 12 W Color: white | 32 | Nos |  | 0
17.13 | LT-2A.2 BEAMLINE SLIM LED LINEAR SYSTEMS IP20 36W CODE 641331.0025.2.76 435mm, 36 W Color: Traffic white, matt (RAL 9016) | 10 | Nos |  | 0
17.14 | LT-2A.D LEDONA ROUND RECESSED DOWN LIGHT IP20 12W CODE 901791.002.1.76 12 W Color: white | 20 | Nos |  | 0
17.15 | LT-2B LEDONA ROUND RECESSED DOWN LIGHT IP20 19W CODE 901791.002.1 19 W Color: white | 4 | Nos |  | 0
17.16 | LT-2B.D LEDONA ROUND RECESSED DOWN LIGHT IP20 16W CODE 901791.002.1.76 16 W Color: white | 3 | Nos |  | 0
17.17 | LT-4 A LEVIDO ROUND RECESSED DOWN LIGHT IP44 7.5W CODE 901832.002.1 7.5 W COLOR TRAFFIC WHITE RAL 9016 MATT FINISH | 8 | Nos |  | 0
17.18 | LT-5.1 LESS IS MORE 50 LED LINEAR SYSTEM IP20 22W CODE 312305.003.1.76 847mm, 22 W, 4000K COLOR: Jet black (RAL 9005) | 6 | Nos |  | 0
17.19 | LT-5.2 LESS IS MORE 50 LED LINEAR SYSTEM IP20 26W CODE 312306.003.1.76 1127mm, 26 W, 4000K COLOR: Jet black (RAL 9005) | 2 | Nos |  | 0
17.20 | LT-5.3 LESS IS MORE 50 LED LINEAR SYSTEM IP20 34W CODE 312307.003.1.76 1407mm, 34 W, 4000K COLOR: Jet black (RAL 9005) | 8 | Nos |  | 0
17.21 | LT-5.4 LESS IS MORE 50 LED LINEAR SYSTEM IP20 47W CODE 312309.003.1.76 1967mm, 47 W, 4000K COLOR: Jet black (RAL 9005) | 22 | Nos |  | 0
17.22 | LT-08 LESS IS MORE FLEX COVE LED STRIP LIGHT 9.6W/m CODE 982741.000.1 9.6W/M WITH DIFFUSER | 11 | Reels |  | 0
17.23 | Feed 982545.002 | 11 | Nos |  | 0
17.24 | Mid Feed 982550.002 | 14 | Nos |  | 0
17.25 | Profile + diffuser + endcap | 55 | LM |  | 0
17.26 | Driver - 60W on/off | 11 | Nos |  | 0
17.27 | LT-13 LESS IS MORE 50 LED LINEAR SYSTEM 11W CODE 312236.002.1 608mm, 11 W Color: white | 8 | Nos |  | 0
17.28 | Rotary Dimmer CODE 982384.002 Flush-type box Color: white | 10 | Nos |  | 0
13.55 | Indoor Air Quality Sensors (Considered containment & cabling only) | 7 | Nos |  | 0
18 | EMERGENCY AND EXIT LIGHTS
Engineer, supply and installation of proposed self contained monitoring Emergency Lighting System including containment wiring and control wiring, etc., complete all in accordance to drawings and specifications and in compliance with Civil Defense Requirements and landlord and FM requirement.
18.1 | EMERGENCY MONITORING PANEL | 1 | Nos |  | 0
18.2 | E1 -2W LED RECESSED TYPE EMERGENCY LIGHT WITH 3Hrs. BATTERY PACK, IP-20 | 11 | Nos |  | 0
18.3 | E2- 5W LED RECESSED TYPE EMERGENCY LIGHT WITH 3Hrs. BATTERY PACK, IP-20. | 22 | Nos |  | 0
18.4 | EXIT LIGHTS WITH 3HRS. BATTERY PACK, IP-20. | 4 | Nos |  | 0
18.5 | EXIT LIGHTS DIRECTIONAL | 5 | Nos |  | 0
19 | FIRE ALARM SYSTEM
Supply and installation of fire detection and alarm system with all necessary equipment and accessories as per below details, complete all in accordance to drawings and specification and in compliance with building requirements and local authorities rules and regulations Includes wiring and terminating the zone control valves and flow switched to the proposed alarm system and compliance and interfacing with Building's Fire Alarm System as well as BMS System,
Fire Alarm Devices Supply and installation of the following fire alarm devices including wiring and all necessary fittings and accessories, etc., complete all in accordance to drawings and specifications
19.1 | Fire Alarm Panel | 1 | LS |  | 0
19.2 | Intelligent optical Smoke Detectors with standard base | 30 | Nos |  | 0
19.3 | Intelligent Heat Detector with standard base | 3 | Nos |  | 0
19.4 | Multisensor Smoke Detectors with standard base | 1 | Nos |  | 0
19.5 | Intelligent optical Smoke Detectors with standard base, above false ceiling with LED indicator light | 26 | Nos |  | 0
19.6 | Fire alarm wall sounder with flasher | 2 | Nos |  | 0
19.7 | Ceiling mounted voice evacuation speaker | 6 | Nos |  | 0
19.8 | Ceiling mounted voice evacuation speaker with strobe | 13 | Nos |  | 0
19.9 | Fire Alarm Manual call button | 2 | Nos |  | 0
19.10 | Interface Units (IFU) | 10 | Nos |  | 0
19.11 | Hassantuk 24X7 Panel | 1 | Nos |  | Excluded
19.12 | FAS system isolation by building nominated contractor. | 1 | Nos |  | 0
20 | IT, VOICE AND DATA SYSTEM (System shall be considered as per IT Specialist / Client IT Requirements, Other ELV items by Specialist) | 1 | LS
20.1 | Containment for Data Outlets Supply and installation of containment from main telephone room to server room, data outlets including approved cable tray/ trunking and conduits complete all in accordance to drawings and specifications local authorities.
20.2 | Single Voice/Data Outlet | 104 | Nos |  | 0
20.5 | WiFi | 8 | LS |  | 0