## B15-Mech
Mechanical: Bill of Quantity
Project Name |  | KU Office Fit-out Project - 5th floor | Project Code |  | A2202
Department Name | Department Name | Tendering Department | Department Code | Department Code
Form Name | Form Name | Mechanical- Bill of Quantity | Form Code | Form Code
Date | Date | 2023-12-20 | Updated Date | Updated Date | 2023-12-20
Client | Client | Khalifa University | Designer | Designer | CEO Engineering Consultants
Project Manager | Project Manager |  | Contractor | Contractor | NA
Location | Location | KU Main Campus - Abu Dhabi Island | Work Phase | Work Phase | Tender Stage
Area | Area |  | Average Cost | Average Cost
Item Ref. | Item Description |  | Quantity | Unit | Unit Rate (Dhs) | Total Price (Dhs)
MECHANICAL WORKS
A | The contractor should consider in his estimate the required quantity according to prospective shop drawings of the related system with no extra time and cost. |  | 1 | Item
AIR CONDITIONING Installations
B | All Air Conditioning and Ventilation System shall be Brand new supply of items / equipment's / installed, tested, and commissioned complete in all respects ready to operate as per specification, drawings, applicable standards, local authority regulations, requirements and instruction of Engineer In-charge including all builders work etc but not limited to the following; |  | 1 | Item
C | Ceiling Suspended FCU Supply, installation and commissioning of Ceiling suspended Fan coil units with chilled water coils, filters, duct connections, valve package, PICV, hangers & supports, electrical connections, controls, and all other accessories as shown in the drawings and as mentioned in the specifications. |  | 72 | Nos |  | Supply by Client, Installation by Contractor
D | VAV Supply and installations of VAV units (BYPASS) with all other accessories as shown in the drawings and in compliance with project specifications. |  | 53 | Nos |  | 0
E | Thermostat Supply, installation and commissioning of thermostats for VAVs, FCUS with all other accessories, control panel, integration with BMS as shown in the drawing and in compliance with project specification. (including BMS works) |  | 125 | Nos |  | 0
| To Collection |  |  | Dhs |  | 0
MECHANICAL WORKS Continued
AIR CONDITIONING Installations
A | Chilled Water Pipes Chilled Water pipes with all the necessary fittings, isolation, valves strainers, hangers, supports, flexible connection, flushing, water balancing, etc., as shown on the drawings and specified. Contractor is responsible to connect the new chilled water pipes to the existing connection by means of flexible coupling, with flushing
A.1 | 20 mm diameter |  | 770 | Mtr |  | 0
A.2 | 25 mm diameter |  | 275 | Mtr |  | 0
A.3 | 32 mm diameter |  | 180 | Mtr |  | 0
A.4 | 40 mm diameter |  | 70 | Mtr |  | 0
A.5 | 50 mm diameter |  | 138 | Mtr |  | 0
A.6 | 65 mm diameter |  | 36 | Mtr |  | 0
B | Indoor Chilled water pipe insulation
Supply and apply insulation to indoor chilled water piping, with insulations as specified complete with the necessary adhesive for vapor tight joints as per manufacturer's recommendations.
|  |  | 1 | item |  | 0
C | Chilled Water Pipes Valves and accessories Supply and install chilled water valves and accessories including gate valves, DRVs, strainers, non return valves, automatic air vents, drain cocks, pressure gages, thermometers, flow meters, motorized butterfly valves, three way valves and flexible connectors as specified and shown on detailed drawings. |  | 1 | Item |  | 0
D | Duct Work Ductwork complete with all required accessories (Pre insulated / GI), branch openings, air balancing, etc., as per specification & drawings ( AC & Ventilation) |  | 1 | Item |  | 0
MECHANICAL WORKS Continued
AIR CONDITIONING Installations
E | Duct Accessories Supply and installation of duct accessories as shown in the drawings and in compliance with project specifications
E.1 | Duct Hangers and Supports |  | 1 | Item |  | 0
E.2 | Rubber Liner for duct support |  | 1 | Item |  | 0
E.3 | Volume Control Dampers |  | 1 | Item |  | 0
F | Acoustic Insulation. Supply and installation of Duct acoustic insulation as shown in the drawing and in compliance with project specifications. (near the FCUs and plenums) |  | 1 | Item |  | 0
| To Collection |  |  | Dhs |  | 0
MECHANICAL WORKS Continued
AIR CONDITIONING Installations
A | Grill and diffusers,etc
A.1 | Round Diffuser |  | 260 | Nos |  | 0
A.2 | Square Diffuser |  | 25 | Nos |  | 0
A.3 | Slot Diffusers |  | 30 | Nos |  | 0
A.4 | Linear Bar Grills |  | 170 | Nos |  | 0
A.5 | Disk Valve |  | 20 | Nos |  | 0
A.6 | Cross talk attenuator |  | 29 | Nos |  | 0
Sundries
B | Allow for submittals, samples, shop drawings, inspections, as built drawings, operation and maintenance manuals and the like |  | 1 | Item |  | 0
C | Allow for training for the client’s staff |  | 1 | Item |  | 0
D | Allow for builders work in connection with air conditioning installation including all sleeves, fire resistant sealant etc. |  | 1 | Item |  | 0
E | Allow for maintenance of the complete air conditioning installation as specified |  | 1 | Item |  | 0
F | Allow for spares to be handed over to client |  | 1 | Item |  | 0
G | Allow for all items not included herein but as required by specification and as indicated on drawings for achieving the full functions of the systems |  | 1 | Item |  | 0
H | Allow for testing and commissioning with one year free maintenance |  | 1 | Item |  | 0
I | Provide all accessories as mentioned in the specification. |  | 1 | Item |  | 0
J | Allow for one calendar years of warranty of the entire system with free periodic maintenance and supply of consumables parts. |  | 1 | Item |  | 0
| To Collection |  |  | Dhs |  | 0
MECHANICAL WORKS Continued
PLUMBING WORKS:
DRAINAGE INSTALLATIONS:
A | All Drainage works shall be installed, tested, and commissioned complete in all respects ready to operate as per specification, drawings, applicable standards, local authority regulations, requirements and instruction of Engineer In-charge including all builders work etc but not limited to the following; |  | 1 | Item |  | 0
B | Connection to existing soil with riser works, waste, vent pipes and other fittings including all bends, junctions, accessories, supports & hangers, insulation, traps etc necessary for the system as per standards, specifications, drawings, regulations and instruction of Engineer In-charge |  | 1 | Item |  | 0
C | Soil & Waste Pipe and Fitting
C.1 | 110mm diameter |  | 277 | Mtr |  | 0
C.2 | 75mm diameter |  | 55 | Mtr |  | 0
C.3 | 50mm diameter |  | 60 | Mtr |  | 0
D | Vent Pipe and Fitting
| 50mm diameter |  | 130 | Mtr |  | 0
E | Allow for Acoustical Insulation as per specification for drainage pipes within occupied areas as per site Engineer instructions |  | 1 | item |  | 0
F | Condensate Drain Pipe Installation
| Supply and installation of uPVC Pressure Condensate drain pipes fixed to AHU / FCU units to each indoor units, including fittings, bends, joints, clamps, support, hangers, insulation and forming to fittings as per specification. |  | 1 | item |  | 0
G | Extra over for condensate fittings, traps, clean-out and other related accessories for drain connections to FCU as shown in drawing |  | 1 | item |  | 0
H | uPVC pipework ancillaries complete with clamp, adapter as per specifications. |  | 1 | Item |  | 0
I | Clean Out (C.O) to Soil & Waste Pipes
I.1 | 110mm diameter |  | 26 | Nos |  | 0
| To Collection |  |  | Dhs |  | 0
MECHANICAL WORKS Continued
DRAINAGE INSTALLATIONS: continued
A | Floor drain
A.1 | Floor Drain (FD) to Waste Pipe concealed as per ID requirement |  | 28 | item |  | 0
A.2 | channel grating |  | 2 | Nos |  | 0
WATER SUPPLY INSTALLATIONS
B | Contractor shall Supply, Install, testing & commissioning of complete Water Supply system strictly in accordance with the specification, local authorities, applicable standards, instructions of Engineer In charge and as indicated on drawings including all builders work as, but not limited to, the following |  | 1 | Item |  | 0
COLD WATER SUPPLY INSTALLATION
C | Pipework
| Supply, Install and Fix Domestic Cold Water pipework's including all necessary pipes, fittings, bends, tees, hangers and supports, as per specification. Contractor is responsible to connect new pipes to existing pipes. |  | 1 | Item |  | 0
D | PPR; pipework
D.1 | 20 mm diameter |  | 96 | meters |  | 0
D.2 | 25 mm diameter |  | 49 | meters |  | 0
D.3 | 32 mm diameter |  | 20 | meters |  | 0
D.4 | 40 mm diameter |  | 35 | meters |  | 0
| To Collection |  |  | Dhs |  | 0
MECHANICAL WORKS Continued
WATER INSTALLATIONS: continued
A | PPR pipes- Hot water with insulation Supply & install hot water pipes PPR complete with joints as described including all fittings and support and insulation etc as specified and shown on the drawings.
A.1 | 20 mm diameter |  | 73 | meters |  | 0
B | Water heater complete with thermostat, pressure reducing valve, stop valve, pressure relief valve with Tundish (safety valve).
B.1 | W/H; 50 liters capacity |  | 3 | Nos. |  | 0
B.2 | W/H; 80 liters capacity |  | 3 | Nos. |  | 0
B.3 | W/H; 100 liters capacity |  | 2 | Nos. |  | 0
C | Install all valves on cold & hot water services as required. |  | 1 | item |  | 0
water pipes works (pex pipe)
D | Furnish and install internal supply cold water PEX pipe final droppers works for all bathrooms, toilets, kitchen and the like, including valves, fittings with all associated works as specified and shown on drawings |  | 1 | item |  | 0
| To Collection |  |  | Dhs |  | 0
MECHANICAL WORKS Continued
PLUMBING INSTALLATIONS
A | Submittals,samples,shop drawings approved by authority and as built drawing. |  | 1 | Item |  | 0
B | Allow for water services connection to sanitary fittings as Specified and shown on drawings. |  | 1 | Item |  | 0
C | Water hammer arrestor at the end of each circuits as shown in schematic for both hot and cold water as applicable. |  | 1 | Item |  | 0
D | Sundries
D.1 | Test the complete SYSTEM installation at completion in the presence of the Engineer, repeat test as may be required and leave in perfect order and to the satisfaction of the engineer and Local Authority. |  | 1 | Item |  | 0
D.2 | Provide all painting and identification to the installation. |  | 1 | Item |  | 0
D.3 | Allow for submittal, samples, shop drawings, inspecting, as built drawings etc. |  | 1 | Item |  | 0
D.4 | Allow for maintenance of the complete of system as specified. |  | 1 | Item |  | 0
D.5 | Allow for all items not included herein but as required by specification, and as included in drawings. |  | 1 | Item |  | 0
D.6 | Allow for testing & commissioning for the system |  | 1 | Item |  | 0
D.7 | Allow for builders work in connection with plumbing installation including all sleeves, fire resistant sealant etc. |  | 1 | Item |  | 0
D.8 | Provide all accessories as mentioned in the specification. |  | 1 | Item |  | 0
D.9 | Allow for one calendar years of warranty of the entire system with free periodic maintenance and supply of consumables parts. |  | 1 | Item |  | 0
D.10 | Allow for all items not included herein but as required by specification, and as included in drawings. |  | 1 | Item |  | 0
| To Collection |  |  | Dhs |  | 0
MECHANICAL WORKS Continued
FIRE FIGHTING INSTALLATIONS
A | Provide and install the complete fire fighting installation strictly in accordance with the specification, local Civil defense requirements, UAE Fire & Life Safety Code 2018, NFPA standards, instructions of Engineer In charge and as indicated on drawings including all builders work as, but not limited to the following: |  | 1 | Item |  | 0
B | Relocation of existing Fire hose cabinet, with hose reel, PRV, spare hose, extinguishers and all other accessories as shown in the drawing and as mentioned in the project specifications |  | 2 | Item |  | 0
| Supply and Installation of a new Fire hose cabinet, with hose reel, PRV, spare hose, extinguishers and all other accessories as shown in the drawing and as mentioned in the project specifications |  | 1 | Item |  | 0
Galvanized Seamless pipes
C | Supply & Installation testing and commissioning of galvanized seamless pipes . (UL listed) for complete Fire Fighting Works including fittings, joints (screwed or flanged), hangers, supports, painting and fire rated sealant and all other accessories as specified and as shown on drawings. Contractor is responsible to connect the new fire fighting pipes to the existing connection including IV, coupling, flushing
C.1 | 25 mm |  | 870 | Item |  | 0
C.2 | 32 mm |  | 40 | Item |  | 0
C.3 | 40 mm |  | 220 | Item |  | 0
C.4 | 50 mm |  | 210 | Item |  | 0
C.5 | 65 mm |  | 262 | Item |  | 0
C.6 | 80mm |  | 80 | Item |  | 0
C.7 | 100 mm |  | 60 | Item |  | 0
C.8 | 150mm |  | 68 | Item |  | 0
D | Supply and install of pendent sprinklers as shown in the drawings and as mentioned in the specifications. |  | 440 | Item |  | 0
E | Supply and install of upright sprinklers as shown in the drawings and as mentioned in the specifications. |  | 490 | Item |  | 0
| To Collection |  |  | Dhs |  | 0
MECHANICAL WORKS Continued
FIRE FIGHTING INSTALLATIONS
A | Fire extinguishers
Supply and installation of fire extinguishers including recessed cabinet as per drawings and specification in compliance to local code
A.1 | CO 2 Fire Extinguisher (5kg) |  | 9 | Nos |  | 0
A.2 | Multipurpose Dry Powder (4.0 kg) |  | 9 | Nos |  | 0
A.3 | K-Type Extinguisher |  | 1 | Nos |  | 0
A.4 | Fire blanket |  | 1 | Nos |  | 0
B | Supply and Installation of Test and Drain line with required valve, piping, support as required. |  | 1 | Item |  | 0
C | Allow for builders work in connection with Fire fighting and MEP installation including all sleeves, fire resistant sealant etc. |  | 1 | Item |  | 0
D | Allow for any other modification in the existing system to match the new layout and authority requirement. |  | 1 | Item |  | 0
Sundries
E | Allow for testing and commissioning of the complete fire fighting installation at completion by civil defense approved contractor in the presence of the Engineer, repeat test as may be required and leave in perfect order and to the satisfaction of the engineer and Local Authority. |  | 1 | Item |  | 0
F | Provide all painting and identification to the installation. |  | 1 | Item |  | 0
G | Provide all accessories as mentioned in the specification. |  | 1 | Item |  | 0
H | Allow for one calendar years of warranty of the entire firefighting system with free periodic maintenance and supply of consumables parts. |  | 1 | Item |  | 0
I | Allow for all items not included herein but as required by specification, and as included in drawings. |  | 1 | Item |  | 0
| To Collection |  |  | Dhs |  | 0
MECHANICAL WORKS
COLLECTION
| From Page B05 - 01 |  |  |  |  | 0
| From Page B05 - 02 |  |  |  |  | 0
| From Page B05 - 03 |  |  |  |  | 0
| From Page B05 - 04 |  |  |  |  | 0
| From Page B05 - 05 |  |  |  |  | 0
| From Page B05 - 06 |  |  |  |  | 0
| From Page B05 - 07 |  |  |  |  | 0
| From Page B05 - 08 |  |  |  |  | 0
| From Page B05 - 09 |  |  |  |  | 0
|  | Carried to Summary (Total for Mechanical Works) |  | Dhs |  | 0